## Slide 1
A Novel Evaluation Framework for Selecting the Best Solar Farm Locations:
A Case Study of Lithuania and Poland

## Slide 2
Content
Project Description
Data Criteria
Workflow

## Slide 3
Project Details
 | Description
Project Name | A novel Evaluation Framework for selecting the best solar farm location: a case study of Lithuania and Poland
Project Duration | 36 months
Project Leader | Dr inz Vishnu Suresh
Keywords | Photovoltaic farms; Low-carbon energy transition; Solar energy; Renewable energy; Site selection.
Funding Budget | 484 791 zł

## Slide 4
Project
Element
Problem
The selection of a solar farm location depends on many factors, creating a complex decision-making problem for the investor. Distribution system operators (DSOs) also face similar challenges when expanding infrastructure.
The integration of GIS-based MCDM analysis with machine learning enables precise, efficient, and scalable selection of solar farm locations for investors, enhances infrastructure expansion planning for distribution system operators (DSOs), and supports improved spatial planning for local authorities.
Solution
The project aims to advance solar energy development by creating a framework of key criteria for site selection.
The developed framework supports decision-makers and investors in the energy sector in building photovoltaic farms in Poland and Lithuania.
Objective

## Slide 5
3
OFFERS
01
Technical Benefits
02
Investment Benefit
Grid planning
Reduced grid congestion risk
Investment Planning
Risk Reduction
Capital Efficiency
Improved ROI
Environmental/Social
Carbon Reduction
Clean Energy Transition
Public Acceptance
Efficient Land Use
03

## Slide 6
INNOVATIVE
Framework
The project aims to identify optimal sites for constructing solar farms in Poland and Lithuania to maximize photovoltaic energy output and support sustainable energy practices.
Geographic Information Systems
Acquire and preprocess spatial data using GIS.
Multi-Criteria Decision Making
MCDM
Develop and MCDM model in a fuzzy decision-making context
Machine/Deep Learning
ML/DL
Develop machine/deep learning model for comparative analysis

## Slide 7
Project
Partner
Poland
Lithuania

## Slide 8
Poland
Side
Poland
Specific research task
Developing a Framework Criteria
Finding Required Data
Developing MCDM Models
Integrate and Implement Proposed Model
Planning Scenarios and Policies
Project Team
Vishnu Suresh
Przemysław Janik
Dominika Kaczorowska
Fachrizal Aksan
Project Duration
2025
2026
2027
Expected Effects
Higher Energy Output
Cost Efficiency
Environmental Benefit
Regulatory Compliance
Strategic Planning

## Slide 9
Lithuania
Side
Lithuania
Specific research task
Developing a Framework Criteria
Data Acquisition and Preprocessing
Identification of the best fuzzy extension
Develop machine learning model and real world validation
Planning Scenarios and Policies
Project Team
Dalia Streimikiene
Mahyar Saraji
Mariam kasradze
Project Duration
2025
2026
2027
Expected Effects
Higher Energy Output
Cost Efficiency
Environmental Benefit
Regulatory Compliance
Strategic Plannig

## Slide 10
1st Study Case
Dolnośląskie
Data Criteria for MCDM
Data Climate :
Solar radiation + Temperature
Data Topographic:
Elevation + Contour Line + Land Use
Data Power Infrastructure:
Power Line + Substation + PV Farm
Data Infrastructure:
Road + Highway/Railways
Data Policy:
Regulation + Law

## Slide 11
Temperature
9.9
2.7
1039 kWh/m2
703 kWh/m2
1134 kWh/kWp
856 kWh/kWp
Direct Normal Irradiance
(DNI)
Potential Photovoltaic
Electricity Generation
Data Criteria
Climate
Topography
Power
Infrastructure

## Slide 12
Data Criteria
Climate
Topography
Power
Infrastructure
Land Use
Elevation
Type of Land Considered
Farmland
Farmyard
Grass
Heath
Meadow
Scrub
>= 2 Ha
1520 meters
40 meters

## Slide 13
Data Criteria
Climate
Topography
Power
Infrastructure
Parameter inside:
Latitude
Longitude
Substation’s name
Substation’s group
Substation’s region
Power Line’s Name
Solar Farm location
Wind Farm Location
Area Size

## Slide 14
Data Criteria
Climate
Topography
Power
Infrastructure
Water Ways
Railway/Road Network
Building
Flood risk / Waterlogging issues
Water supply
Transport of materials
Access for workforce and maintenance
Availability of construction facilities
Storage and security

## Slide 15
Topography
Climate
Power
Infrastructure
Policy
Criteria
Workflow
MCDM
ML/DL
Tools
Weight
60 %
40 %
70 %
55 %
50 %
A
B
C
Low
Medium
High
Low
Medium
High
Medium
Medium
Medium
Low
High
High
High
Medium
Low
Key Steps of MCDM
Define Objective
Define Criteria
Weight of Criteria
List the Option
Rate the Option
Calculate Score
Select highest score
Grid area < 10 km

## Slide 16
Workflow
MCDM
ML/DL
Tools
Data
Data
Preparation
Algorithm
Evaluation
Model
Data
Testing
Data
Training
Prediction
Criteria

## Slide 17
Workflow
MCDM
ML/DL
Tools
QGIS
Pyqgis
Microsoft Excel
Google Earth
Keras Library
Scikit Learn
Visual Studio Code
TensorFlow
Data Source
NASA
Copernicus
Earth Data
Open Street Map
MCDM Analysis
ML/DL Analysis

## Slide 18
Potential Data
Request
Power Capacity
Power Consumption & Power Production
Storage Capacity
Waiting List for Substation

## Slide 19
THANK YOU