## Slide 1
Technical Sustainability
Grid Connectivity
Energy Efficiency
Future Expansion
Social Acceptance
Community Impact
Policy
Economic Viability
Investment
Infrastructure
Land Costs
Environmental Feasibility
Climate
Topography
Land Use

## Slide 2
Social Acceptance
Community Impact
Policy
Economic Viability
Investment
Infrastructure
Land Costs
Technical Sustainability
Grid Connectivity
Energy Efficiency
Future Expansion
Environmental Feasibility
Climate
Topography
Land Use
Phase 1: Primary Exclusionary Screening
Phase 2: Technical and Economic Optimization
Phase 3: Socio-Climatic Validation

## Slide 3: Technical Sustainability
These factors determine how efficiently a solar farm can integrate into the existing energy infrastructure:
Distance to Transmission Lines → Shorter distances reduce energy losses and costs (Distance from borders).
Proximity to Substations → Closer substations improve grid stability and lower connection costs.
Grid Infrastructure Capacity → The ability of the grid to handle additional solar energy without costly upgrades.
Distance to Roads → Needed for transporting equipment and maintenance access (if grid-related development is needed).

## Slide 4: Technical Sustainability
Energy Efficiency
These factors influence how much energy can be generated from solar panels in a given location:
Solar Radiation (GHI, DNI) → Higher radiation levels improve energy yield.
Temperature & Climate Conditions → Extreme temperatures can impact PV panel efficiency.
Topography (Slope & Elevation) → Steep slopes may reduce efficiency by affecting panel placement.
Land Cover & Albedo Effect → Some surfaces reflect more sunlight, impacting efficiency.
Air Pollution/Dust Levels → High dust levels can reduce solar panel efficiency by blocking sunlight.

## Slide 5: Technical Sustainability
Future Expansion
These factors ensure long-term viability and scalability:
Land Availability → Sufficient open space for expanding solar farms.
Land Use Restrictions → Policies affecting whether land can be repurposed for solar projects.
Infrastructure Expandability → Whether roads, substations, and grid infrastructure can support future growth.
Policy & Regulatory Environment → Incentives and support for future solar expansion.
Energy Storage Potential → The feasibility of adding battery storage for excess energy.

## Slide 6: Economic Viability
Investment
These factors relate to financial feasibility and attractiveness for investors:
Capital Cost of Installation → High upfront costs may discourage development.
Return on Investment (ROI) → Expected profitability influences investor interest.
Policy Incentives → Subsidies, tax credits, or feed-in tariffs improve financial appeal.
Cost-Benefit Analysis → Studies that weigh benefits vs. costs for location optimization.
Support Mechanisms → Government or private support for renewable projects (e.g., loans, guarantees).

## Slide 7: Economic Viability
Infrastructure
Infrastructure determines ease of project deployment and operation:
Proximity to Transmission Lines → Reduces costs for new infrastructure.
Proximity to Roads/Ports → Critical for transporting materials and maintenance.
Access to Utilities → Availability of water or telecom (if considered) for operations.
Power Line Capacity → Ability to accommodate electricity generated.

## Slide 8: Economic Viability
Land Costs
Land affordability significantly impacts feasibility:
Land Price per m² or ha → Higher costs may deter investment.
Opportunity Cost → Trade-offs between land for solar vs. agriculture or urban use.
Land Ownership Type → Public vs. private land may influence pricing and permissions.

## Slide 9: Social Acceptance
Community Impact
Factors related to how solar farms affect nearby residents:
Visual Impact/Aesthetic Concerns → May lead to resistance if projects affect views.
Employment Opportunities → Perceived benefits can increase acceptance.
Noise, Glare, or Land Use Conflict → May generate opposition if not managed.
Health & Safety Concerns → Misconceptions or real issues may affect support.

## Slide 10: Social Acceptance
Land Ownership
This affects land acquisition and legal complexity:
Public vs. Private Ownership → Impacts ease of lease or purchase.
Fragmented Land Holdings → Complicates large-scale development.
Traditional or Customary Rights → Particularly relevant in developing countries.

## Slide 11: Social Acceptance
Policy
Social acceptance is shaped by policy frameworks:
Local Zoning Regulations → Determine what types of developments are allowed.
Public Participation in Planning → Enhances legitimacy and reduces conflict.(same as local zoning regulations, people choose plans).
Fair Compensation Laws → Ensure communities benefit from land use.

## Slide 12: Environmental Feasibility
Climate
Climate conditions directly affect solar generation potential:
Global Horizontal Irradiation (GHI) → Key to estimating solar yield.
Direct Normal Irradiation (DNI) → Important for CSP or fixed-tilt systems.
Cloud Cover, Humidity, Rainfall → May reduce energy production.
Temperature Extremes → Affect panel efficiency and performance.

## Slide 13: Environmental Feasibility
Topography
Topographic suitability influences construction ease and panel placement:
Slope → Flat or gently sloped land is preferred for stability and cost.
Elevation → May affect irradiance, wind exposure, or access.
Terrain Ruggedness → Steep or uneven terrain raises construction costs.

## Slide 14: Environmental Feasibility
Land Use
The suitability of current land use types:
Abandoned Land, or Desert Areas → Often favored for solar farms.
Agricultural Land Conflicts → May be avoided or dual-use (agrivoltaics) considered.
Protected Areas, Forests, or Wetlands → Typically excluded due to regulation.
Land Use Compatibility → Whether solar installations align with broader land plans.